## Main Panel
Slots | Circuit # | Item | GFCI | AFCI | Breaker Amps | Guage | Watts | Volts | Notes
2 | 2022-01-02 | Water Heater | FALSE | FALSE | 100 | 8-2 min. | 24000 | 240 | Stiebel Eltron Tankless Water Heater – Tempra 24 Plus – Electric, On Demand Hot Water, Eco, White, 20.2
2 | 2022-03-04 | Stove | FALSE | FALSE | 50 | 2022-06-03 |  | 240
2 | 2022-05-06 | Dryer | FALSE | FALSE | 30 | 2022-10-03 |  | 240
2 | 2022-07-08 | HVAC Condensor | FALSE | FALSE | 20 | 12-3 min. |  | 240 | MZ-GL24NA - 24,000 BTU 20.5 SEER Wall Mounted Mitsubishi Mini-Split GL Single Zone Heat Pump - SEER: 20, EER: 12.5
2 | 2022-09-10 | Spare Attic Circuit 1 | FALSE | FALSE | 30 | 2022-10-03 |  | 240 | to junction box in attic
2 | 2022-11-12 | Spare Attic Circuit 2 | FALSE | FALSE | 30 | 2022-10-03 |  | 240 | to junction box in attic
2 | 13-14 | Surge Protector | FALSE | FALSE | 20 | N/A |  | 240
1 | 15 | HVAC Air Handler | FALSE | FALSE | 20 | 14-3 min. |  | 120
1 | 16 | Refrigerator | FALSE | FALSE | 20 | 2022-12-02 |  | 120
1 | 17 | Microwave | TRUE | TRUE | 20 | 2022-12-02 |  | 120
1 | 18 | Washer | TRUE | TRUE | 20 | 2022-12-02 |  | 120
1 | 19 | Dishwasher | TRUE | TRUE | 20 | 2022-12-02 |  | 120
1 | 20 | Kitchen Outlets 1 | TRUE | TRUE | 20 | 2022-12-02 |  | 120
1 | 21 | Kitchen Outlets 2 | TRUE | TRUE | 20 | 2022-12-02 |  | 120
1 | 22 | Disposal | FALSE | FALSE | 20 | 2022-12-02 |  | 120
1 | 23 | Living Room Outlets | FALSE | TRUE | 20 | 2022-12-02 |  | 120
1 | 24 | Bedroom Outlets | FALSE | TRUE | 20 | 2022-12-02 |  | 120
1 | 25 | Bathroom/Closet Outlets | TRUE | TRUE | 20 | 2022-12-02 |  | 120
1 | 26 | Bathroom Vanity Outlets | TRUE | TRUE | 20 | 2022-12-02 |  | 120
0.5 | 27.1 | Junction Box Lights | FALSE | FALSE | 20 | 2022-12-02 |  | 120
0.5 | 27.2 | Living Room Can Lights | FALSE | FALSE | 20 | 2022-12-02 |  | 120
0.5 | 28.1 | Bathroom Fan | FALSE | TRUE | 20 | 2022-12-02 |  | 120
0.5 | 28.2 | Bathroom/Closet Lights | FALSE | TRUE | 20 | 2022-12-02 |  | 120
0.5 | 29.1 | Backdoor/Corner Lights | FALSE | FALSE | 20 | 2022-12-02 |  | 120
0.5 | 29.2 | Attic Lights/Outlets | FALSE | FALSE | 20 | 2022-12-02 |  | 120
1 | 30 | Spare Attic Circuit 3 | FALSE | FALSE | 20 | 2022-12-02 |  | 120 | to junction box in attic
1 | 31 | Spare Attic Circuit 4 | FALSE | FALSE | 20 | 2022-12-02 |  | 120 | to junction box in attic
1 | 32 | Closet Light | FALSE | FALSE | 20 | 2022-12-02 |  | 120
1 | 33 | Fire Alarms | FALSE | TRUE | 15 | 14-3 |  | 120
33 | TOTAL: |  |  |  | 715

## Breaker Labels
Closet Light | Fire Alarms
Spare Attic Circuit 3 | Spare Attic Circuit 4
Bathroom Fan | Attic Lights/Outlets
Junction Box Lights | Living Room Can Lights
Bathroom/Closet Outlets | Bathroom Vanity Outlets
Living Room Outlets | Bedroom Outlets
Kitchen Outlets 2 | Disposal
Dishwasher | Kitchen Outlets 1
Microwave | Washer
Surge Protector | Refrigerator
HVAC Air Handler
Spare Attic Circuit 1 | Spare Attic Circuit 2
Dryer | HVAC Condensor
Water Heater | Stove
Main

## Meter Base Panel
Slots | Circuit # | Item | GFCI | AFCI | Breaker Amps | Guage | Watts | Volts | Notes
2 | 2022-01-02 | Powerwall | FALSE | FALSE | 50 |  |  | 240
2 | 2022-03-04 | Powerwall | FALSE | FALSE | 50 |  |  | 240
2 | 2022-05-08 | Camper | FALSE | FALSE | 100 |  |  | 240
2 | 2022-09-10 | Electric Car | TRUE | FALSE | 40 | 2022-08-03 |  | 240
2 | 2022-11-12 | Jacuzzi | TRUE | FALSE | 60 | 2022-06-03 |  | 240
|  |  | FALSE | FALSE
|  |  | FALSE | FALSE
|  |  | FALSE | FALSE
|  |  | FALSE | FALSE
10 | TOTAL: |  |  |  | 300 | Siemens MC0816B1400 - 400 amp, 8 space, 16 circuit ($874.79) on back order since August 2021 at City Plumbing